Note:	ProWorx Software

Product:	Modbus Ethernet

Date:	9/26/02

Application Note

While precautions have been taken in the preparation of this note, CTC and the author assume no responsibility for errors or omissions.  Neither is any liability assumed for damages resulting from the use of the information contained herein.

Using ProWorx software to configure a Modicon PLC for use with the Interact Modbus Ethernet (MBEN) driver

- This application note assumes that the user has a working knowledge of ProWorx software. Go online serially with your Quantum PLC and select Configuration from the Configuration menu

- Under the general tab, set your Conf Extension size to be greater than 101

- Return back to the Configuration menu and this time select Config Extensions. This will launch the Configuration Extensions menu. Add TCP/IP and set it up as shown below.