Configuring the MachineLogic and MachinePoint I\O for Profibus

INTRODUCTION

This document will describe the steps necessary for configuring MachineLogic and the CTC Parker MachinePoint I\O bus coupler for DeviceNet.  This tutorial will include sections explaining the following:

- How to mount and wire the MachinePoint I\O

- An explanation of the MachineLogic hardware

- How to configure the bus coupler and the PowerStation

- How to configure your MachineShop project for Profibus

- Byte Swapping and addressing information

- A list of error codes for the CTC Parker Profibus I\O

In addition to your PC and PowerStation, you will need the following items:

- Interact v6.0 or higher

- MachineLogic v2.0 or higher

- MachineShop Toolbar v1.0 or higher

- SST Configuration Utility for Profibus I/O

- 5136 PC104 SST Profibus Card

- 10 Mb or greater PowerStation Flashcard

- I/O Simulator

- Profibus cable (to be discussed)

# MOUNTING THE MACHINEPOINT COUPLER AND I/O

Begin by mounting the MachinePoint bus coupler on a piece of din rail by placing the top over the din rail and snapping the bottom on.  Then add the I/O modules to the right of the coupler.  Snap the orange clip on top of the modules in place.  The orange clips allow the communication over the back plane.

# WIRING THE BUS COUPLER

Wires should be stripped back about 8 mm before placing them in the hole while the clamp lever is in the down position.  After placing the wire in the hole use a screw driver to disengage the clamp lever so that it pops up.  When the clamp lever is pushed up the clamp will close solidly on the wire.

To supply power to the MachinePoint, the positive wire of the power supply should be connected to the red +24V location on the bus coupler.  Add the ground voltage of the power supply to the blue “0v” location on the bus coupler.  Next, connect a wire from the 0v location to the ground of the bus coupler.  To supply power to the other modules, connect a wire from the +24V of the bus coupler to the +24V of the next I\O module.  Repeat this for the 0V and the ground wire.

INTERFACE CONNECTORS

CTC suggests that you use the Siemans Simatic Net Profibus cable.  This cable is highly shielded to resist environmental noise.

If you choose to make your own cable use the following 9-pin subminiature interface connector diagram.

1 PROFIBUS node, 9-pin, subminiature, pin contact 
2 PROFIBUS terminator, 9-pin, subminiature, pin contact 
3 Shielded cable

* Use direct-axis inductances of 110nH with baud rates > 1.5Mbaud

THE MACHINELOGIC CONTRLOL ADAPTER CARD

The MachineLogic Control Adapter is an expansion card that must be installed in the runtime workstation in order to run MachineLogic.

# THE 5136 PC104 SST PROFIBUS CARD

The SST Profibus Card facilitates communications between the MachineLogic Control Adapter and the MachinePoint Profibus bus coupler.

CONFIGURING THE BUS COUPLER NETWORK SETTINGS

Disconnect the bus coupler from the PowerStation and apply power to the bus coupler.  Disconnecting the bus coupler from the PowerStation is important because there can be no communication to the bus coupler at the time of configuration.  After applying power, the 24V light on the bus coupler should turn on, as well as the 24V light on all of the I\O modules.  If the light does not turn on, check the wiring of the modules.

First we need to set the node number of the I\O block.  To do this, press the small MODE button until the cursor is over the STOP indicator and blinking, then hit OK.  Next, press the blue left and right arrow buttons at the same time.

Use the blue arrow keys to set the node number for the I\O network.  If more than one node is on the network select a unique number for the each node (for our example we will use 3).  Once you have the desired number – press OK.  We now need to cycle power to the bus coupler to save our changes.

*Note:  The node number set for the bus coupler will be used several times throughout the configuration.

Next, we need to enable byte swapping for the MACHINEPOINT bus coupler.   Use the MODE button to move the cursor over the STOP indicator, but do not press the OK button.  While the STOP indicator is blinking press the UP and DOWN arrow keys simultaneously.  This will enter you into the service function.  Use the right arrow key to move to Service function 10.  Once the display shows S10, press the OK button.  Use the right arrow key again and change the byte swapping value to 2.  This will swap both the digital values and the analog values.  More information on byte swapping will be provided later in this document.

It is not necessary to set the baud rate for the bus coupler.  The MachinePoint DP will auto detect the baudrate of your Profibus network.  We will set the baudrate for our network in the SST Configuration Utility.

# CONFIGURING THE POWERSTATION

The easiest way to set up the PowerStation for the CTC Parker DeviceNet is to simply reformat the Flash disk.  The Flash Utility will restore all the PowerStation files to the Flash disk.  A shortcut can be added to the MachineShop toolbar for the Flash Utility.

If you don’t have the utility, but have access to the Internet then you can find it at: http://www.ctcusa.com/ctcnet/Support/support.asp . Select “PowerStation Utilities” under “PowerStation Disk & Doc For MachineShop Shell” you will see FlashUtil.zip

DEVELOPMENT SETUP

The next step for setting up Profibus is to configure your project during development.  This will include the following:

- Creating a new MachineShop project

- I\O Configuration with the SST Profibus configuration Tool

- Understanding the Weiland Profibus addressing format

SECTION I (MachineShop Project Creation)

Begin by launching MachineShop.  Create a new project by selecting Create a New MachineShop Project from the Welcome screen.

Enter a Project name, and select which components will be included in the project (in this case Interact and MachineLogic). Choose OK.

Select the Template for SST Profibus. Choose Next.

Select the ‘SST Profibus ISA/PC104’ I/O interface. Choose Next.

Enter the Interact application name and display resolution. Choose Next.

Choose the module(s) that you will use in your Interact application. Our example will only require the PTM module. Choose Next.

You can choose the driver(s) that you will use in your Interact application. Notice MLD for MachineLogic driver has been added automatically.

Choose Finish.

A screen will display project information.

Choose OK.

SECTION II (I/O Configuration w/ SST)

To create the master (scanner) device, follow these steps:

Start the SST Profibus Configuration Utility.

Begin by expanding the menu under the Master list in the browser on the left.  Select the 5136-PFB 104 Master and drag it over to the window on the left.

After dragging the 104 Master to the left a popup dialog will appear.  The station number will assign the node number for the Profibus card on PowerStation.  Leave this set at zero.  All other options in this window can be left at their defaults.  Choose OK.

Also by double clicking the Profibus_DP icon show a popup will appear that will allow you to configure network parameters, including baudrate.  For now, leave all of the settings at the default

Next, expand the Slave list in the browser on the left side of the screen.  Scroll down to the CTC Parker folder.  If you do not see the folder you can down load the zip file from the CTC Parker Automation Application Engineering website.  Unzip and extract these files to the C:\MachShop directory.  After you have done this click on the Add Device button (circled).  Browse to the C:\MachShop directory and select the files that you extracted to that location.  Choose OK. This will add several CTC Parker devices to the list of slaves.  For this application we will be selecting the MachinePoint BC DP device.  Drag and drop this device to the window on the left.  This will cause the Slave configuration window to appear.  If you have multiple nodes on your network (i.e. multiple bus couplers) you will repeat this process for each of the nodes on the network.

On the General tab we will only change the station number.  We must change the station number to 3 or higher.  We cannot use numbers 1 and 2 for diagnostic reasons.  This station number must match the node number set on the bus coupler (see CONFIGURING THE BUS COUPLER NETWORK SETTINGS).

Next, click on the Modules tab.  Click on the Add button to add the modules connected to your bus coupler.  For our purposes we will use the Diagnose, 8I/O and the 4AI/4A0.  Now, choose OK.

*Note: You must add the diagnose module.  This module represents the status bytes associated with the bus coupler.

Note the number of bytes being used at the lower right hand portion of the window.  This completes the node configuration.  If you have more that one node on your network repeat these steps for each node on the network.

The next step is to export the I\O configuration binary file to the configuration directory of your project.  Do this by clicking the Export Binary button shown on the right.  In the popup dialog browse to the C:\MachShop\projects\config\<Project, where <Project> is the name of your project.  Name the Binary file PFBS. This will create a .BSS binary file that will be read by MachineLogic in Run Mode.

It will also be helpful to save this configuration.  That way you will be able to come back to it and make changes if necessary.  To do this, choose Save under the File menu.  It is suggested that you save the *.pbc file to the following location:  C:\MachShop\Projects\Interact\<Project>\Startup\PFBS.PBC.

You can now close the SST Configuration utility. If you have not yet saved, you will be prompted to save the file. We have exported the file necessary for MachineLogic’s use and saving this file is optional. It is useful, however, to save this file for future enhancements or changes.

BYTE SWAPPING AND ADDRESSING INFORMATION

When addressing I\O points wired to your CTC Parker I\O block there are a couple of things to keep in mind.  First and most importantly are the status bytes associated with the CTC Parker bus coupler.  Lets look at an example of an I\O setup.  In this example we will use a MachinePoint Profibus bus coupler, an 8 I\O module (which can be wired for any combination of 8 inputs and outputs), and a 4 analog input and 4 analog output module with +/- 10 volts.

The actual physical location (meaning their order of connection to the bus coupler) of the I\O modules defines how their inputs and outputs will be addressed.  For our purposes we will assume the following setup:

The figure below describes the memory layout associated with the I\O configuration on the previous page, each block represents 1 byte:

The first 4 bytes of this system are status bytes.  Therefore, when accessing inputs and outputs of the I\O block all addressing will begin at the 6th byte (byte #5).  Also, even though our discrete module only has 8 I\O points the module still uses 2 full bytes.  In addition, the analog module uses a full word (2 bytes) for every input and output.  Below are some examples of how the addressing will look in MachineLogic:

- For the first discrete Input, the address would be: IX4.0 – where I is an input and X accesses information on the bit level

- For the first analog Output, the address would be: QW6 – where Q is an output and W accesses information on the word level

Remember that the addressing is defined by the actual physical order of the I\O modules.  If we were to switch the location of the analog and discrete modules the first input of the analog module would be at the 5th byte (byte 4).

Earlier in this document we enabled the byte swapping in the bus coupler.  By enabling byte swapping we change the order of how MachineLogic sees the incoming data.

Without using the byte swapping option data is received from the bus coupler in the following way:

With the byte swapping enabled data appears as the following:

Four different modes of byte swapping can be used.  They include:

- Option 0, no swapping

- Option 1, swap digital only

- Option 2, swap both digital and analog

- Option 3, swap analog only

All swapping options are contained under Service Function 10.

The next step is to setup the MachineLogic I\O configuration.

SECTION III (MachineLogic Development and Example Application)

Launch MachineLogic by clicking on the gear icon in the MachineShop ToolBar.

MachineLogic will open with the name you designated in your MachineShop project.

Double click the Global_Variables. Go to the end of the Global_Variables list, and enter the following variables exactly as shown below:

VAR_GLOBAL

CONTACT  	 AT %IX 4.0		:	BOOL;

COIL	       	 AT %QX 4.4		:	BOOL;

BUTTON        AT %MX 0.0     	:   	BOOL;

END_VAR

Save and close this worksheet.

Double-click on I/O configuration

The task name MyTask1, MUST match the I/O reference statements below.

PROGRAM INPUTS WITH MyTask1: INPUT.

(

VAR_ADR := 0,					(* START OFFSET IN BYTES *)

END_VAR_ADR := 13,				(* STOP OFFSET IN BYTES *)

DEVICE := DRIVER,				(* REQUIRED *)

DRIVER_NAME := 'SSTPFBS',

DRIVER_PAR1 := 3

);

### PROGRAM OUTPUTS WITH MyTask1: OUTPUT

(

VAR_ADR := 0,					(* START OFFSET IN BYTES *)

END_VAR_ADR := 13,				(* STOP OFFSET IN BYTES *)

DEVICE := DRIVER,				(* REQUIRED *)

### DRIVER_NAME := 'SSTPFBS'

DRIVER_PAR1 := 3

);

*Note: END_VAR_ADR will reflect how many I\O modules (in our case we used a total of 14 bytes) are connected to the individual bus coupler (see IMPORTANT MEMORY AND ADDRESS INFORMATION).  Also, DRIVER_PAR1 will reflect the node number set for the bus coupler (see CONFIGURING BUS COUPLER NETWORK SETTINGS).

Save and close this worksheet.

Double-click on the word ‘MyProgram’ under the “LOGICAL POU’s’ section on the browser tree.

Choose ‘MyProgramV’ under this section. This will open the local variables worksheet for MyProgram .

Delete the information that is currently in MyProgramV worksheet by highlighting and right clicking, then choosing Delete.

Double-click on the MyProgram worksheet and select all the data on the worksheet. Right-click and delete the data on the existing worksheet.

Click on the MyProgram worksheet and from the element toolbar located directly above the worksheet, select the contact network icon.

This will insert a contact and coil onto the worksheet.

Right-click on C000, and choose Object Properties.

You will be asked to save your changes to MyProgramV.VB, select Yes.

Set Contact/Coil to Contact and the Type to normally open ( ---| |--- ). The Scope should be set to Global.

Select the pull down menu button next to Variable, and choose CONTACT. Click OK.

Right-click on the coil symbol to the right, and choose Object Properties from the menu.

Set the Contact/Coil to Coil and the Type to the normal coil symbol. ( ---( )--- ) The Scope should be set to Global.

Select the pull down menu button next to Variable, and choose COIL. Click OK.

Finally, single click on the contact you named CONTACT, and choose the Add contact/coil below icon from the icon bar above the worksheet. This will add a parallel contact to your network.

Right click on this contact, and choose Object Properties from the menu.

Set the Contact/Coil to Contact. Set the Type to normally open. ( ---| |--- ). The Scope should be set to Global.

Select the pull  down menu button next to Variable and choose BUTTON. Choose OK.

Save and close this worksheet.

The TASK has already been configured in this case, (MyTask1), but please note that you will need to configure a TASK if you do not have one preconfigured when working with other templates. The MachineLogic Project is complete.

Press Ctrl_F9 to rebuild this Project. You should see the following message. Remember to leave the MachineLogic program open. You can minimize the program. MachineLogic automatically saves all necessary files on compilation.

Create a backup of your project by selecting Save Project As / Zip Project As – from the File menu.  Select *.zwt from the Save As type drop down menu.

SECTION IV (Interact Development)

Select the icon that launches INTERACT v6.0 from the toolbar.

Expand the Application Browser and select Tag Editor.

Note that INTERACT v6.0 recognizes the use of MachineLogic in the right window.

Expand the MachineLogic application name 'New' and then expand the ‘Global-Variables’ section in the Tag Editor.

Select and drag the variables CONTACT, COIL and BUTTON in to the right window.

INTERACT will now automatically create tagnames for use in your INTERACT application.

Save and close the Tag Editor.

In the Application Browser, expand the Panel Toolkit Module (PTM), and select Panels then New.

Create a Momentary pushbutton with the address @BUTTON as the ‘Switch Input’.

Create an indicator tool and use @COIL in the ‘Lens Output 0’ reference location. Make sure that you set different colors under the ‘Appearance’ tab to represent the 0 and 1 states.

Before you exit you may wish to add a Go To AM Button. This is an Action Tool.

Save and close the panel.

Close the INTERACT program.

SECTION V (MachineShop Transfer to the PowerStation)

Turn off your PowerStation and take your Compact Flash out and insert it into your computer (use the SANDISK adapter or the PCMCIA adapter).

*Note: Do not remove the Compact Flash until the power is off.  If the Flash is removed while the power is on, the Flash may become corrupted.

Select the Transfer Wizard Icon.

Select the Download to Runtime option.

Select Next.

Select Define New Connection.

Type FLASH as your Connection Name.

Select the Connection Type to be Disk. Select OK.

Assign the proper Drive letter to the Compact Flash.

Select Finish. You may be prompted to save a MachineLogic Zip file. Select Yes, and continue the operation.

Continue through the menu selections and Begin your download. Most Downloads take only a few seconds.

If a warning appears concerning the existence of a *.zwt file, ignore the warning and select Yes.

Now put your Compact Flash back into your PowerStation, and turn on the power.  All of the necessary files should be downloaded. When you run Interact it will display your tools.

When you push the Interact push button on the PowerStation’s display, the first Input light on your simulator will go on (green). When you push the first button on your simulator (green), the indicator in Interact on the PowerStation’s display will go active.

CTC Parker Profibus I\O Error Codes

The following is a list of error codes associated with the CTC Parker MachinePoint bus coupler:

Error Number		Explanation

E001	No I\O module connected

E002	An I/O module with an ID not supported by the bus coupler has been connected.

E004	Internal data transmission (bus coupler (( I/O module) has been interrupted (e.g. slide contact open)

E005	The bus coupler has identified a transgression of the maximum number of I/O modules.

E006	The field bus has been disconnected or is no longer being operated.

E007	Write access to the EEPROM in the bus coupler has failed.

E012	The bus coupler has identified a configuration change and is now deleting masks for LOCK mode.

E014	A PROFIBUS-DP master has sent an incorrect I/O

E016				User lock-out violated on safety level 1.

E017				User lock-out violated on safety level 2.

E018				More than 8 lock conditions set for analog channels.

E019				A module in the bus node has a 24V error.

# Text boxes

Resistor

### 4 Bytes

### 2 Bytes

### 8 Bytes

4 Analog In, 4 Analog Out

Discrete

8 I\O

### Bus Coupler

### 8 Bytes

### 2 Bytes

### 4 Bytes